## MeasurementData
Forward Voltage (V) | Forward Current Density (mA.cm-²) | Forward Power Density (mW.cm-²) | Reverse Voltage (V) | Reverse Current Density (mA.cm-²) | Reverse Power Density (mW.cm-²) | Solar Cell Area (cm²) | Forward Voc (V) | Forward Jsc (mA.cm-²) | Forward FF (%) | Forward PCE (%) | Forward Rs (Ω.cm²) | Forward Rsh (Ω.cm²) | Reverse Voc (V) | Reverse Jsc (mA.cm-²) | Reverse FF (%) | Reverse PCE (%) | Reverse Rs (Ω.cm²) | Reverse Rsh (Ω.cm²) | Hysteresis Index HI (%) | Delay per point (ms) | NPLC | 4-Wire Sensing | Pre-bias Voltage (V) | Pre-bias Duration (s) | Instrument IDN | Scan Rate (mV/s)
[6 empty] | 0.1 | 1.1 | 21.3608 | 79.3738 | 18.6503 | 7.5807 | 6004 | 1.12 | 23.6093 | 77.5661 | 20.5103 | 6.5754 | 6004 | 9.0685 | 20 | 1 | 0 | 0 | 0 | Simulated DummyCell SMU (sample data — not a real instrument) | 352.9412
-0.1 | 21.3774 | -2.1377 | -0.1 | 23.6259 | -2.3626
-0.08 | 21.3741 | -1.7099 | -0.08 | 23.6226 | -1.8898
-0.06 | 21.3708 | -1.2822 | -0.06 | 23.6193 | -1.4172
-0.04 | 21.3674 | -0.8547 | -0.04 | 23.6159 | -0.94464
-0.02 | 21.3641 | -0.42728 | -0.02 | 23.6126 | -0.47225
0 | 21.3608 | 0 | 0 | 23.6093 | 0
0.02 | 21.3574 | 0.42715 | 0.02 | 23.6059 | 0.47212
0.04 | 21.3541 | 0.85416 | 0.04 | 23.6026 | 0.9441
0.06 | 21.3508 | 1.281 | 0.06 | 23.5993 | 1.416
0.08 | 21.3474 | 1.7078 | 0.08 | 23.5959 | 1.8877
0.1 | 21.3441 | 2.1344 | 0.1 | 23.5926 | 2.3593
0.12 | 21.3408 | 2.5609 | 0.12 | 23.5893 | 2.8307
0.14 | 21.3374 | 2.9872 | 0.14 | 23.5859 | 3.302
0.16 | 21.3341 | 3.4135 | 0.16 | 23.5826 | 3.7732
0.18 | 21.3308 | 3.8395 | 0.18 | 23.5793 | 4.2443
0.2 | 21.3274 | 4.2655 | 0.2 | 23.5759 | 4.7152
0.22 | 21.3241 | 4.6913 | 0.22 | 23.5726 | 5.186
0.24 | 21.3208 | 5.117 | 0.24 | 23.5693 | 5.6566
0.26 | 21.3175 | 5.5425 | 0.26 | 23.566 | 6.1271
0.28 | 21.3141 | 5.968 | 0.28 | 23.5626 | 6.5975
0.3 | 21.3108 | 6.3932 | 0.3 | 23.5593 | 7.0678
0.32 | 21.3075 | 6.8184 | 0.32 | 23.556 | 7.5379
0.34 | 21.3041 | 7.2434 | 0.34 | 23.5526 | 8.0079
0.36 | 21.3008 | 7.6683 | 0.36 | 23.5493 | 8.4777
0.38 | 21.2975 | 8.093 | 0.38 | 23.546 | 8.9475
0.4 | 21.2941 | 8.5177 | 0.4 | 23.5426 | 9.4171
0.42 | 21.2908 | 8.9421 | 0.42 | 23.5393 | 9.8865
0.44 | 21.2875 | 9.3665 | 0.44 | 23.536 | 10.3558
0.46 | 21.2841 | 9.7907 | 0.46 | 23.5326 | 10.825
0.48 | 21.2808 | 10.2148 | 0.48 | 23.5293 | 11.2941
0.5 | 21.2775 | 10.6387 | 0.5 | 23.526 | 11.763
0.52 | 21.2741 | 11.0625 | 0.52 | 23.5226 | 12.2318
0.54 | 21.2708 | 11.4862 | 0.54 | 23.5193 | 12.7004
0.56 | 21.2674 | 11.9098 | 0.56 | 23.5159 | 13.1689
0.58 | 21.264 | 12.3331 | 0.58 | 23.5125 | 13.6373
0.6 | 21.2606 | 12.7564 | 0.6 | 23.5091 | 14.1054
0.62 | 21.2572 | 13.1794 | 0.62 | 23.5056 | 14.5735
0.64 | 21.2536 | 13.6023 | 0.64 | 23.5019 | 15.0412
0.66 | 21.2499 | 14.0249 | 0.66 | 23.4981 | 15.5087
0.68 | 21.2458 | 14.4472 | 0.68 | 23.4939 | 15.9758
0.7 | 21.2413 | 14.8689 | 0.7 | 23.4891 | 16.4423
0.72 | 21.236 | 15.2899 | 0.72 | 23.4832 | 16.9079
0.74 | 21.2292 | 15.7096 | 0.74 | 23.4755 | 17.3719
0.76 | 21.2201 | 16.1272 | 0.76 | 23.4647 | 17.8332
0.78 | 21.2067 | 16.5412 | 0.78 | 23.4487 | 18.2899
0.8 | 21.1863 | 16.9491 | 0.8 | 23.4236 | 18.7389
0.82 | 21.154 | 17.3463 | 0.82 | 23.3835 | 19.1745
0.84 | 21.1014 | 17.7252 | 0.84 | 23.3178 | 19.587
0.86 | 21.0151 | 18.073 | 0.86 | 23.2098 | 19.9605
0.88 | 20.8732 | 18.3684 | 0.88 | 23.0327 | 20.2688
0.9 | 20.6419 | 18.5777 | 0.9 | 22.7461 | 20.4715
0.92 | 20.2721 | 18.6503 | 0.92 | 22.2938 | 20.5103
0.94 | 19.6995 | 18.5175 | 0.94 | 21.6061 | 20.3097
0.96 | 18.851 | 18.0969 | 0.96 | 20.6107 | 19.7863
0.98 | 17.6602 | 17.307 | 0.98 | 19.2502 | 18.8652
1 | 16.0848 | 16.0848 | 1 | 17.4969 | 17.4969
1.02 | 14.1161 | 14.3984 | 1.02 | 15.3566 | 15.6637
1.04 | 11.7751 | 12.2461 | 1.04 | 12.8603 | 13.3747
1.06 | 9.1012 | 9.6473 | 1.06 | 10.0516 | 10.6547
1.08 | 6.1404 | 6.6316 | 1.08 | 6.9764 | 7.5345
1.1 | 2.937 | 3.2307 | 1.1 | 3.677 | 4.0447
1.12 | -0.46967 | -0.52603 | 1.12 | 0.19006 | 0.21287
1.14 | -4.0465 | -4.613 | 1.14 | -3.4541 | -3.9376
1.16 | -7.7661 | -9.0087 | 1.16 | -7.2305 | -8.3873
1.18 | -11.6063 | -13.6955 | 1.18 | -11.1188 | -13.1202
1.2 | -15.5491 | -18.6589 | 1.2 | -15.1027 | -18.1233

## SingleDiodeFit
Parameter | Value | ±Std Error | Unit
J_ph | 23.625 | 3.9822e-15 | mA/cm²
J0 | 2e-12 | 2.0022e-25 | mA/cm²
n | 1.45 | 4.8405e-15 | —
Rs | 4 | 7.0399e-15 | Ω·cm²
Rsh | 6000 | 2.648e-10 | Ω·cm²
R² | 1
RMSE | 1.3569e-14 |  | mA/cm²
RMSE_log | 6.8873e-15 |  | log₁₀ scale
Method | Temperature (K) | Fit Timestamp | Bounded Parameters
curve_fit+brentq | 298.15 | 2026-06-22 16:18:44 | none