## MeasurementData
Forward Voltage (V) | Forward Current Density (mA.cm-²) | Forward Power Density (mW.cm-²) | Reverse Voltage (V) | Reverse Current Density (mA.cm-²) | Reverse Power Density (mW.cm-²) | Solar Cell Area (cm²) | Forward Voc (V) | Forward Jsc (mA.cm-²) | Forward FF (%) | Forward PCE (%) | Forward Rs (Ω.cm²) | Forward Rsh (Ω.cm²) | Reverse Voc (V) | Reverse Jsc (mA.cm-²) | Reverse FF (%) | Reverse PCE (%) | Reverse Rs (Ω.cm²) | Reverse Rsh (Ω.cm²) | Hysteresis Index HI (%) | Delay per point (ms) | NPLC | 4-Wire Sensing | Pre-bias Voltage (V) | Pre-bias Duration (s) | Instrument IDN
[6 empty] | 0.07 | 0.925 | 20.1684 | 85.7376 | 15.995 | 12.1646 | 13002.2939 | 0.95 | 20.8268 | 81.9575 | 16.2157 | 0.254 | 2820.2208 | 1.3605 | 100 | 1 | 0 | 1.2 | 2 | KEITHLEY INSTRUMENTS INC.,MODEL 2400,1234567,C32 Mar 4 2004 17:45:26/A02 /K/J
-0.1 | 20.2677 | -2.0268 | 1.05 | -418.6973 | -439.6322
-0.075 | 20.1815 | -1.5136 | 1.025 | -204.811 | -209.9313
-0.05 | 20.2014 | -1.0101 | 1 | -95.0234 | -95.0234
-0.025 | 20.2163 | -0.50541 | 0.975 | -38.5603 | -37.5963
0 | 20.1684 | 0 | 0.95 | -9.6973 | -9.2124
0.025 | 20.2001 | 0.505 | 0.925 | 5.1459 | 4.7599
0.05 | 20.1999 | 1.01 | 0.9 | 12.7731 | 11.4958
0.075 | 20.1297 | 1.5097 | 0.875 | 16.6693 | 14.5856
0.1 | 20.2406 | 2.0241 | 0.85 | 18.6699 | 15.8694
0.125 | 20.2239 | 2.528 | 0.825 | 19.6553 | 16.2157
0.15 | 20.1748 | 3.0262 | 0.8 | 20.2617 | 16.2094
0.175 | 20.1929 | 3.5338 | 0.775 | 20.5093 | 15.8947
0.2 | 20.22 | 4.044 | 0.75 | 20.7002 | 15.5251
0.225 | 20.1893 | 4.5426 | 0.725 | 20.7092 | 15.0142
0.25 | 20.19 | 5.0475 | 0.7 | 20.6845 | 14.4791
0.275 | 20.1415 | 5.5389 | 0.675 | 20.7756 | 14.0235
0.3 | 20.2218 | 6.0665 | 0.65 | 20.8572 | 13.5572
0.325 | 20.2045 | 6.5665 | 0.625 | 20.7789 | 12.9868
0.35 | 20.2105 | 7.0737 | 0.6 | 20.7612 | 12.4567
0.375 | 20.1385 | 7.5519 | 0.575 | 20.7504 | 11.9315
0.4 | 20.2655 | 8.1062 | 0.55 | 20.7568 | 11.4163
0.425 | 20.2056 | 8.5874 | 0.525 | 20.7872 | 10.9133
0.45 | 20.1839 | 9.0828 | 0.5 | 20.7522 | 10.3761
0.475 | 20.2805 | 9.6332 | 0.475 | 20.8594 | 9.9082
0.5 | 20.1974 | 10.0987 | 0.45 | 20.7883 | 9.3547
0.525 | 20.1409 | 10.574 | 0.425 | 20.804 | 8.8417
0.55 | 20.1824 | 11.1003 | 0.4 | 20.8572 | 8.3429
0.575 | 20.1064 | 11.5612 | 0.375 | 20.8598 | 7.8224
0.6 | 20.2386 | 12.1432 | 0.35 | 20.7912 | 7.2769
0.625 | 20.1776 | 12.611 | 0.325 | 20.813 | 6.7642
0.65 | 20.16 | 13.104 | 0.3 | 20.8292 | 6.2487
0.675 | 20.2239 | 13.6511 | 0.275 | 20.7921 | 5.7178
0.7 | 20.0985 | 14.0689 | 0.25 | 20.7287 | 5.1822
0.725 | 20.1546 | 14.6121 | 0.225 | 20.826 | 4.6859
0.75 | 19.9908 | 14.9931 | 0.2 | 20.8356 | 4.1671
0.775 | 19.9331 | 15.4481 | 0.175 | 20.8165 | 3.6429
0.8 | 19.6945 | 15.7556 | 0.15 | 20.7629 | 3.1144
0.825 | 19.3879 | 15.995 | 0.125 | 20.7921 | 2.599
0.85 | 18.6127 | 15.8208 | 0.1 | 20.7763 | 2.0776
0.875 | 17.0286 | 14.9 | 0.075 | 20.7879 | 1.5591
0.9 | 14.2165 | 12.7949 | 0.05 | 20.8518 | 1.0426
0.925 | 8.7282 | 8.0736 | 0.025 | 20.8612 | 0.52153
0.95 | -1.6221 | -1.541 | 0 | 20.8268 | 0
0.975 | -21.4544 | -20.918 | -0.025 | 20.822 | -0.52055
1 | -59.1824 | -59.1824 | -0.05 | 20.8271 | -1.0414
1.025 | -131.0042 | -134.2793 | -0.075 | 20.7996 | -1.56
1.05 | -267.7659 | -281.1542 | -0.1 | 20.7971 | -2.0797